## Worksheet
Note: Blue text is autocalculated. Do not edit blue text.
Simple Life Cycle Cost Analysis Worksheet
System Information | System 1 | System 2
Lighting System Life (years) | 15 | 17.5
Annual Operation (hours) 1 | 3120 | 3120
Electricity Cost (per kWH) 2 | 0.15 | 0.15
System Wattage (kW) | 6000 | 5000
Initial Costs | System 1 | System 2
Lighting System Equipment 3 | 250000 | 350000
Lighting System Installation 4 | 250000 | 250000
Lighting Related Cooling Equip. 5
Subtotal | 500000 | 600000
Utility Rebates and/or Tax Credits
Total Initial Cost | 500000 | 600000
Annual Costs | System 1 | System 2
Electricity | 2808000 | 2340000
Lamp Replacement (calculator on right)
Ballast Replacement (calculator on right)
Luminaire Cleaning (calculator on right)
HVAC Cooling 6
Total Annual Cost | 2808000 | 2340000
Total Cost of Ownership | 42620000 | 41550000
Footnotes
1. Provided by project owner.
2. Provided by utility company or found on recent utility bill.
3. Budget pricing can be obtained from fixture sales representative.
4. Consult contractor or cost estimator.
5. One ton of cooling is required for every 3.5 kW of lighting. Calculate number of tons required and consult the project's mechanical engineer for costs.
6. Calculated by the mechanical system based on the system wattage.

## Calculators
Note: Blue text is autocalculated. Do not edit blue text.
Lamp Replacement Calculator
| System 1 |  |  | System 2
| Lamp 1 | Lamp 2 | Lamp 3 | Lamp 1 | Lamp 2 | Lamp 3
Lamp Life | System 1 Lamp 1: 3000; System 1 Lamp 2: 2000; System 1 Lamp 3: 6000
Lamp Qty. | System 1 Lamp 1: 40; System 1 Lamp 2: 40; System 1 Lamp 3: 40
Lamp Cost | System 1 Lamp 1: 8.5; System 1 Lamp 2: 5; System 1 Lamp 3: 12.25
Subtotals | 3.4 | 3 | 2.45 | #DIV/0! | #DIV/0! | #DIV/0!
Totals | System 1 Lamp 1: 8.85; System 2 Lamp 1: #DIV/0!
Ballast/Transformer Replacement Calculator
| System 1 |  |  | System 2
| Type 1 | Type 2 | Type 3 | Type 1 | Type 2 | Type 3
Device Life (in years) | System 1 Type 1: 5
Device Qty. | System 1 Type 1: 10
Device Cost | System 1 Type 1: 35
Subtotals | 1050 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Totals | System 1 Type 1: #DIV/0!; System 2 Type 1: #DIV/0!
Luminaire Cleaning Calculator
| System 1 |  |  | System 2
| Type 1 | Type 2 | Type 3 | Type 1 | Type 2 | Type 3
Cleaning Time (minutes) | System 1 Type 1: 5
Hourly Rate | 22.5 | 22.5 | 22.5 | 22.5 | 22.5 | 22.5
Luminaire Qty. | System 1 Type 1: 10
Cleanings per Year | System 1 Type 1: 0.8
Subtotals | 15 | 0 | 0 | 0 | 0 | 0
Totals | System 1 Type 1: 15; System 2 Type 1: 0